## Sheet1
Hot Works Permit
1.0 Works Details
1.1 Date of Works (Permit Strictly only valid for one day. For extensions/additional works a new application must be made) |  |  | 1.2 Location of works (Please specify room names/numbers if known)
1.2 Start Time for Hot Works |  |  | 1.3 End Time for Hot Works
1.4 Details of Work incl. equipment used
2.0 Contractor Details |  |  | Contractor/Company
Supervisor in Charge |  |  | Supervisor Contact Tel.
3.0 Precautions - to be completed by the Contractor |  |  | IN THE EVENT OF A FIRE PLEASE IMMEDIATELY NOTIFY BBC STUDIOWORKS SECURITY ON 0203 327 7443 OR 07816 281 379
| YES | NO |  | YES | NO
1. Is the Equipment in good working order? |  |  | 7. Are barricades or barriers required?
2. Are all combustibles removed to a minimum of 5m from the work area? |  |  | 8. Are signs required and are they in place?
3. Is suitable Fire Fighting Equipment available? E.g. Fire Extinguisher |  |  | 9. Have you checked and cleared the area from explosive or flammable items?
4. Are welding curtains provided (where applicable)? |  |  | 10. Is a fire watch procedure in place for at least 1 hour after works have finished?
5. Is suitable ventilation in place? |  |  | 11. Do any smoke detectors require isolating?
4.0 Confirmation of Authorisation to Work
4.1 Contractor - Confirmation of Precautions |  |  | 4.2 BBC Studioworks - Authorisation to Work
I have received the information for the area specified and confirm that all the above relevant precautions have been taken for the work to start, under my control. |  |  | I authorise the above work subject to the conditions of this permit and subject to the start and end time in section 1.2 and 1.3
Name: |  |  | Name:
Position: |  |  | Position:
Date/Time: |  |  | Date/Time:
Signature: |  |  | Signature:
5.0 Clearance/Cancellation Confirmation After Work
5.1 Contractor - Clearance |  |  | 5.2 BBC Studioworks - Cancellation
I certify that all persons under my charge have been withdrawn. The authorised work IS / IS NOT complete. (INDICATE CLEARLY) |  |  | I certify that work is complete Security have been notified to remove smoke isolations I certify that area/Equipment safe to use |  | YES / NO YES / NO YES / NO
Name: |  |  | Name:
Position: |  |  | Position:
Date/Time: |  |  | Date/Time:
Signature: |  |  | Signature:
Office Use Only |  |  | HW Permit No. | HW-
GWP Permit Ref. | GWP- |  | Approved By
Date |  |  | Signature
Notes/Conditions:
|  | Please email this document to: | permittowork@bbcstudioworks.com